REAGEN™

Dibutyl phthalate (DBP) ELISA Test Kit

RNC95008

### Product Description

REAGEN™Dibutyl phthalate (DBP) is a kind of plasticizer, the DBP ELISA Test Kit provides a competitive enzyme immunoassay for the quantitative analysis of Dibutyl phthalate in water, juice, vinegar, wine and sauce. The unique features of the kit are:

- High recovery (70-130%), Rapid and cost-effective extraction methods for various samples.

- High sensitivity (0.05 ppm)

- High reproducibility.

- A quick ELISA assay (less than 1.5 hours regardless of number of samples).

### Procedure Overview

The method is based on a competitive colorimetric ELISA assay. The drug of interest has been coated in the plate wells. During the analysis, sample is added along with the primary antibody specific for the target drug. If the target is present in the sample, it will compete for the antibody, thereby preventing the antibody from binding to the drug attached to the well. The secondary antibody, tagged with a peroxidase enzyme, targets the primary antibody that is complexed to the drug coated on the plate wells. The resulting color intensity, after addition of substrate, has an inverse relationship with the target concentration in the sample.

### Kit Contents, Storage and Shelf Life

REAGEN™Dibutyl phthalate (DBP) ELISA Test Kit has the capacity for 96 determinations or testing of 42 samples in duplicate (assuming 12 wells for standards). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. Store the kit at 2-8C*. The shelf life is 12 months when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| DBP-Coated Plate | 96-well Plate (8wells x 12strips) | 2-8C |
| DBP Standards: Negative control (white cap tube) 0.05µg/mL (yellow cap tube) 0.1µg/mL (orange cap tube) 0.3 µg/mL (pink cap tube) 0.9µg/mL (purple cap tube) 2.7µg/mL (blue cap tube) | 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL | 2-8C |
| DBP Antibody #1 | 8 mL | 2-8C * |
| HRP-Conjugated Antibody #2 | 8 mL |  |
| 3X Sample Dilution Buffer | 30mL | 2-8C |
| 10X Wash Solution ** | 30mL |  |
| Stop Buffer ** | 8 mL |  |
| TMB Substrate ** | 12mL |  |

* 	If you are not planning to use the kit for over 3 months, store DBP Antibody #1 and HRP-Conjugated Antibody #2 at -20C or in a freezer.

### Sensitivity

| Sample Type | Detection Limit (µg/g or ppm) |
| --- | --- |
| Water | 0.08 |
| Juice/vinegar/wine / sauce | 0.02 |

### Specificity

| Analytes | Cross-Reactivity (%) |
| --- | --- |
| Dibutyl phthalate | 100 |
| Butyl benzyl phthalate | 11.2 |
| Diisobutyl phthalate | 30.5 |
| dioctyl phthalate | <0.1 |
| diisononyl phthalate | <0.1 |
| Di-n-octyl-phthalate | <0.1 |
| Diisodecyl phthalate | <0.1 |
| p-hydroxybenzoic acid esters | <0.6 |
| benzoate | <0.6 |

### Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Incubator

- 200 and 1000 L pipettes

- Vortex mixer (e.g. Gneie Vortex mixer from VWR)

- scales

- Multi-channel pipette: 50-300 L (Optional)

- Rotary evaporator or nitrogen gas

- Methanol（HPLC）

- Hexane（HPLC）

### Warnings and Precautions

- In order to prevent sample from contamination，use glass test tubes with stopper during extraction process.

- Do not intermix reagents from different kits or lots except for components with the same part No’s within their expiration dates. ANTIBODIES AND PLATES ARE KIT- AND LOT-SPECIFIC.

- Try to maintain a laboratory temperature of 20°–25°C.Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays in direct sunlight, as this may cause excessive heat and evaporation. Cold bench tops should be avoided by placing several layers of paper towel or some other insulation material under the assay plates during incubation.

- In case emulsion happened, incubate the sample in water bath for 5 minutes at 60°C.

- Make sure you are using the right dilution to dilute the higher concentration DBP in the sample.

- Incubations of assay plates should be timed as precisely as possible. Be consistent when adding standards to the assay plate. Add your standards first and then your samples.

- Add standards to plate only in the order from low concentration to high concentration as this will minimize the risk of compromising the standard curve.

- Always refrigerate plates in sealed bags with a desiccant to maintain stability. Prevent condensation from forming on plates by allowing them equilibrate to room temperature (20 – 25C / 68 – 77F) while in the packaging.

SAMPLE PREPARATION

Be sure samples are properly stored. In general, samples should be refrigerated at 2-4°C for no more than 1-2 days. Freeze samples to a minimum of -20°C if they need to be stored for a longer period. Frozen samples can be thawed at room temps (20 – 25C / 68 – 77F) or in a refrigerator before use.

Preparation of 1X Sample Dilution Buffer:

Mix 1 volume of 3X Sample Extraction Buffer with 2 volumes of distilled water.

### Juice/vinegar/wine / sauce

- Take 5mL of the sample into a glass tube ,add 2.0 mL of chromatographically pure n-hexane,vortexing for 3 mins.

- Leave the tube at room temperature for 5 minutes.Take 1 mL of supernatant to a new glass tube,use an evaporator to dry the sample at 50C under reduced pressure in the dark. Alternatively, the sample can be dried by blowing nitrogen gas in a 50C water bath or at room temperature for a longer time. (Note: Avoid over drying the sample. If the sample is over dried and "hard crack" appears in the tube, the sample can not be resuspended well and the recovery rate could be reduced)

- Add 1mL of 1X DBP Sample Dilution Buffer to the dried tube and vortex vigorously for 2 minutes.  Alternatively, to fully dissolve the dried residue, vortex vigorously for 1 minute following by sonicating the sample for 5 minutes at maximum force in a water bath sonicator.

- Use 50 L of the supernatant per well for the assay.

Note: Dilution factor: 0.4.  To detect the higher concentration DBP in the sample, the dilution factor can be increased by adding more 1X DBP Sample Dilution Buffer in Step 3.

### water

- Take 200 L of water sample in a centrifuge tube and add 100L chromatographically pure methanol.

- vortex for 30 seconds .Use 50 μL of the solution per well in the ELISA test.

Note: Dilution factor: 1.5.

### Milk/dairy products

1.  Take 1g of the sample into a glass tube and add 10 ml of distilled water, vortex for 2 mins.

2.  Take 4mL of the Step 1 sample into a glass tube ,add 2.0 mL of chromatographically pure n-hexane,vortexing for 3 mins.

- Leave the tube at room temperature for 5 minutes.Take 1 mL of supernatant to a new glass tube,use an evaporator to dry the sample at 50C under reduced pressure in the dark. Alternatively, the sample can be dried by blowing nitrogen gas in a 50C water bath or at room temperature for a longer time. (Note: Avoid over drying the sample. If the sample is over dried and "hard crack" appears in the tube, the sample can not be resuspended well and the recovery rate could be reduced)

- Add 1mL of 1X DBP Sample Dilution Buffer to the dried tube and vortex vigorously for 2 minutes.  Alternatively, to fully dissolve the dried residue, vortex vigorously for 1 minute following by sonicating the sample for 5 minutes at maximum force in a water bath sonicator.

- Use 50 L of the supernatant per well for the assay.

Note: Dilution factor: 5.

Dibutyl phthalate ELISA TEST KIT PROTOCOL

### Reagent Preparation

IMPORTANT: All reagents should be brought up to room temperature before use (1 – 2 hours at 20 – 25C / 68 – 77F); Make sure you read “Warnings and Precautions” section on page 3. Solutions should be prepared just prior to ELISA test.  All reagents should be mixed by gently inverting or swirling prior to use. Prepare volumes that are needed for the number of wells being run. Do not return the reagents to the original stock tubes/bottles. Using disposable reservoirs when handling reagents can minimize the risk of contamination and is recommended.

- Preparation of 1X Wash Solution

Mix 1 volume of 10X Wash Buffer concentrate with 9 volumes of distilled water.

### ELISA Testing Protocol

Label the individual strips that will be used and aliquot reagents as the following example:

| Component | Volume per Reaction | 24 Reactions |
| --- | --- | --- |
| DBP Antibody #1 | 50L | 1.2 mL |
| 1X HRP-Conjugated Antibody #2 | 50 L | 1.2 mL |
| 1X Wash Solution | 1.5 mL | 36 mL |
| Stop Buffer | 100 L | 2.4 mL |
| TMB Substrate | 50 L | 1.2 mL |

- Add 50 L of each DBP Standards in duplicate into different wells

- Add 50 L of each sample in duplicate into different sample wells.

- Add 50 L of DBP Antibody #1 and mix well by gently rocking the plate manually for 1 minute.

- Add 50 L of 1X HRP-Conjugated Antibody #2. Incubate the plate for 40 minutes at room temperature (20 – 25C ) (Avoid direct sunlight and cold bench tops during the incubation. Covering the microtiter plate while incubating is recommended).

- Wash the plate 5 times with 300 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels (Perform the next step immediately after washings. Do not allow the plate to air dry between working steps).

- Add 100 L of TMB substrate. Time the reaction immediately after adding the substrate. Mix the solution by gently rocking the plate manually for 1 minute while incubating

- After incubating for 10-20 minutes at room temperature (20 – 25C / 68 – 77F), add 50 L of Stop Buffer to stop the enzyme reaction.

- Read the plate as soon as possible following the addition of Stop Buffer on a plate reader with 450nm wavelength ( Before reading, use a lint-free wipe on the bottom of the plate to ensure no moisture or fingerprints interfere with the readings).

### Dibutyl phthalate (DBP) Concentration Calculations

A standard curve can be constructed by plotting the mean relative absorbance (%) obtained from each reference standard against its concentration in µg/mL on a logarithmic curve.

Relative absorbance (%) =

Use the mean relative absorbance values for each sample to determine the corresponding concentration of the tested drug in µg/mL from the standard curve.

The following figure is a typical Dibutyl phthalate (DBP) standard curve.

0.05

0.1

0.3

0.9

2.7

REAGEN LLC

Add.:102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com  reagenllc@gmail.com

Web.: www.reagen.us